## Sheet1
Item No | Est Qty | Units | Item Description | Unit Cost | Bid Amount
100-06 | 4017 | LNFT | 6" SDR 35 PVC Sanitary Sewer Laterals |  | 0
100-08 | 4470 | LNFT | 8" SDR 35 PVC Sanitary Sewer Main |  | 0
100-10 | 1073 | LNFT | 10" SDR 35 PVC Sanitary Sewer Main |  | 0
100-24 | 404 | LNFT | 24" PS46 PVC Sanitary Sewer Main |  | 0
110-04 | 19 | EACH | 4 Ft Dia Standard Precast Sanitary Sewer Manhole Including: Frame & Cover, Complete in Place |  | 0
111-04 | 2 | EACH | 4 Ft Dia Standard Precast Sanitary Sewer Manhole With Flat Top Including: Frame & Cover, Complete in Place |  | 0
112-04 | 2 | EACH | 4 Ft Dia Standard Precast Sanitary Sewer Outside Drop Manhole Including: Frame & Cover, Complete in Place |  | 0
120-01 | 2 | EACH | Core and Connect to Existing Sanitary Sewer Manhole (8" Pipe) |  | 0
120-03 | 1 | EACH | Core and Connect to Existing Sanitary Sewer Manhole (12" Pipe) |  | 0
120-10 | 1 | EACH | Core and Connect to Existing Sanitary Sewer Manhole (8" Pipe) Including Bench Modification |  | 0
120-21 | 5 | EACH | Connect to Existing Sanitary Sewer Main |  | 0
120-95 | 21 | EACH | Connect to Existing Sanitary Sewer Lateral |  | 0
121-01 | 1 | EACH | Seal Existing Sanitary Sewer Main |  | 0
121-02 | 13 | EACH | Abandon Existing Sanitary Sewer Manhole |  | 0
123-24 | 1 | EACH | 24" Sanitary Sewer Bulkhead |  | 0
124-04 | 1037 | SQFT | 2" Polystyrene Insulation - Sanitary Sewer |  | 0
200-24 | 194 | LNFT | 24" Storm Sewer Pipe |  | 0
200-30 | 592 | LNFT | 30" Storm Sewer Pipe |  | 0
200-36 | 49 | LNFT | 36" Storm Sewer Pipe |  | 0
201-12 | 1053 | LNFT | 12" Class III Reinforced Concrete Storm Sewer |  | 0
201-15 | 1349 | LNFT | 15" Class III Reinforced Concrete Storm Sewer |  | 0
201-18 | 653 | LNFT | 18" Class III Reinforced Concrete Storm Sewer |  | 0
201-24 | 83 | LNFT | 24" Class III Reinforced Concrete Storm Sewer |  | 0
201-30 | 309 | LNFT | 30" Class III Reinforced Concrete Storm Sewer |  | 0
201-36 | 216 | LNFT | 36" Class III Reinforced Concrete Storm Sewer |  | 0
201-42 | 4 | LNFT | 42" Class III Reinforced Concrete Storm Sewer |  | 0
204-06 | 2133 | LNFT | 6" SDR 35 PVC Storm Sewer Laterals |  | 0
204-08 | 175 | LNFT | 8" SDR 35 PVC Storm Sewer Main |  | 0
204-10 | 140 | LNFT | 10" SDR 35 PVC Storm Sewer Main |  | 0
204-12 | 165 | LNFT | 12" SDR 35 PVC Storm Sewer Main |  | 0
204-15 | 505 | LNFT | 15" SDR 35 PVC Storm Sewer Main |  | 0
208-12 | 327 | LNFT | 12" Class V Reinforced Concrete Storm Sewer |  | 0
208-30 | 674.95 | LNFT | 30" Class V Reinforced Concrete Storm Sewer |  | 0
208-36 | 59.24 | LNFT | 36" Class V Reinforced Concrete Storm Sewer |  | 0
215-04 | 2 | EACH | 4 Ft Dia Standard Precast Storm Sewer Manhole Including: Frame & Cover, Complete in Place |  | 0
215-05 | 1 | EACH | 5 Ft Dia Standard Precast Storm Sewer Manhole Including: Frame & Cover, Complete in Place |  | 0
216-04 | 15 | EACH | 4 Ft Dia Standard Precast Storm Sewer Manhole With Flat Top Including: Frame & Cover, Complete in Place |  | 0
216-05 | 1 | EACH | 5 Ft Dia Standard Precast Storm Sewer Manhole With Flat Top Including: Frame & Cover, Complete in Place |  | 0
216-06 | 7 | EACH | 6 Ft Dia Standard Precast Storm Sewer Manhole With Flat Top Including: Frame & Cover, Complete in Place |  | 0
216-08 | 1 | EACH | 8 Ft Dia Standard Precast Storm Sewer Manhole With Flat Top Including: Frame & Cover, Complete in Place |  | 0
216-24 | 3 | EACH | 4 Ft Dia Standard Precast Storm Sewer Manhole With Flat Top Including: Type "H" Catch Basin Frame (R-3067) & Grate, Complete in Place |  | 0
216-95 | 1 | EACH | 6 Ft Dia Doghouse Precast Storm Sewer Manhole With Flat Top Including: Frame & Cover, Complete in Place |  | 0
216-96 | 1 | EACH | 6 Ft Dia (OG) Standard Precast Storm Sewer Manhole With Flat Top Including: 2050 Frame & Cover, Complete in Place |  | 0
217-01 | 24 | EACH | Type "H" Catch Basin Including: Frame (R-3067) & Grate (Type-R), Complete in Place |  | 0
217-02 | 15 | EACH | Type "H" Catch Basin Including: Frame (R-3067) & Grate (Type-L), Complete in Place |  | 0
218-24 | 2 | EACH | 24" Dia Field Inlet Including: Frame (R-5901-E) & Grate (Type-G), Complete in Place |  | 0
218-36 | 4 | EACH | 36" Dia Field Inlet Including: Frame (R-5901-H) & Grate (Type-G), Complete in Place |  | 0
220-06 | 1 | EACH | 8 Ft Dia Precast Storm Sewer Manhole with 4 Ft Sump Including: Frame & Cover, Complete in Place |  | 0
220-08 | 2 | EACH | 8 Ft Dia Precast Storm Sewer Manhole with 4 Ft Sump Including: Frame & Cover, Complete in Place |  | 0
230-01 | 3 | EACH | Connect to Existing Storm Sewer Structure (Existing Opening) |  | 0
230-02 | 1 | EACH | Connect to Existing Storm Sewer Structure (New Connection) |  | 0
230-04 | 4 | EACH | Connect to Existing Storm Sewer Main |  | 0
230-05 | 12 | EACH | Connect to Existing Storm Lateral |  | 0
231-01 | 22 | EACH | Abandon and Seal Existing Catch Basin |  | 0
231-02 | 3 | EACH | Abandon Existing Storm Manhole |  | 0
231-03 | 1 | EACH | Seal Existing Storm Sewer Main |  | 0
231-05 | 13 | CUYD | Abandoned Storm Sewer Fill (Cellular Concrete or Sand) |  | 0
231-06 | 212 | LNFT | Remove Existing Storm Sewer 30" and Smaller |  | 0
231-07 | 38 | LNFT | Remove Existing Storm Sewer 33" and Larger |  | 0
312-02 | 3 | EACH | Inlet Protection - Type B |  | 0
312-04 | 75 | EACH | Inlet Protection - Type D |  | 0
312-06 | 43 | EACH | Inlet Protection - Type D-M |  | 0
400-04 | 43 | LNFT | 4" PVC DR18 Water Main |  | 0
400-06 | 1076 | LNFT | 6" PVC DR18 Water Main |  | 0
400-08 | 2514 | LNFT | 8" PVC DR18 Water Main |  | 0
400-10 | 73 | LNFT | 10" PVC DR18 Water Main |  | 0
400-12 | 2138 | LNFT | 12" PVC DR18 Water Main |  | 0
401-06 | 16 | LNFT | 6" Ductile Iron Water Main Including Nitrile Gaskets |  | 0
401-08 | 56 | LNFT | 8" Ductile Iron Water Main Including Nitrile Gaskets |  | 0
401-12 | 200 | LNFT | 12" Ductile Iron Water Main Including Nitrile Gaskets |  | 0
406-04 | 1 | EACH | Connect to Existing 4" Water Main |  | 0
406-06 | 6 | EACH | Connect to Existing 6" Water Main |  | 0
406-08 | 6 | EACH | Connect to Existing 8" Water Main |  | 0
406-10 | 1 | EACH | Connect to Existing 10" Water Main |  | 0
407-01 | 9 | EACH | 32# Anode Bag |  | 0
407-02 | 4 | EACH | Temporary 2" Blow Off |  | 0
407-04 | 99 | SQFT | 2" Polystyrene Insulation - Water Main and Services |  | 0
410-04 | 1 | EACH | 4" Water Main Valve and Box |  | 0
410-06 | 17 | EACH | 6" Water Main Valve and Box |  | 0
410-08 | 7 | EACH | 8" Water Main Valve and Box |  | 0
410-10 | 1 | EACH | 10" Water Main Valve and Box |  | 0
410-12 | 4 | EACH | 12" Water Main Valve and Box |  | 0
413-03 | 2 | EACH | 6"x 6" Tee |  | 0
413-05 | 10 | EACH | 8"x 6" Tee |  | 0
413-06 | 4 | EACH | 8"x 8" Tee |  | 0
413-08 | 1 | EACH | 10"x 6" Tee |  | 0
413-10 | 1 | EACH | 10"x 10" Tee |  | 0
413-11 | 1 | EACH | 12"x 4" Tee |  | 0
413-12 | 5 | EACH | 12"x 6" Tee |  | 0
413-13 | 2 | EACH | 12"x 8" Tee |  | 0
413-14 | 1 | EACH | 12"x 10" Tee |  | 0
414-06 | 5 | EACH | 6"-90° Bend |  | 0
414-08 | 3 | EACH | 8"-90° Bend |  | 0
414-10 | 1 | EACH | 10"-90° Bend |  | 0
415-06 | 5 | EACH | 6"-45° Bend |  | 0
415-08 | 5 | EACH | 8"-45° Bend |  | 0
416-04 | 2 | EACH | 4"-22½° Bend |  | 0
416-06 | 13 | EACH | 6"-22½° Bend |  | 0
416-08 | 2 | EACH | 8"-22½° Bend |  | 0
416-12 | 4 | EACH | 12"-22½° Bend |  | 0
419-06 | 9 | EACH | 6" Cap on Existing Main |  | 0
419-08 | 2 | EACH | 8" Cap on Existing Main |  | 0
419-10 | 2 | EACH | 10" Cap on Existing Main |  | 0
420-06 | 2 | EACH | 6" Plug |  | 0
420-08 | 8 | EACH | 8" Plug |  | 0
420-10 | 1 | EACH | 10" Plug |  | 0
420-12 | 1 | EACH | 12" Plug |  | 0
430-04 | 89 | EACH | 1¼" Water Service Including: Corp, Stop, Box Saddle and Union |  | 0
430-05 | 2701 | LNFT | 1¼" Polyethylene Water Service Pipe |  | 0
430-07 | 3 | EACH | 1½" Water Service Including: Corp, Stop, Box Saddle and Union |  | 0
430-08 | 49 | LNFT | 1½" Polyethylene Water Service Pipe |  | 0
430-95 | 100 | LNFT | 1" Copper Service Pipe |  | 0
440-01 | 10 | EACH | Fire Hydrant |  | 0
440-02 | 9 | EACH | Abandon Existing Hydrant |  | 0
500-02 | 3 | EACH | Cobra Head Street Light Concrete Base, Pole, Arm and Luminaire Installation |  | 0
500-03 | 10 | EACH | Cobra Head Street Light Concrete Base, Pole, Arm and Luminaire |  | 0
500-08 | 28 | EACH | Ornamental Street Light Pole and Luminaire |  | 0
500-20 | 9 | EACH | Remove Concrete Bases |  | 0
500-98 | 1 | EACH | Move Existing Light Pole & Base, (Pour New Base) |  | 0
500-99 | 5 | EACH | Parking Lot Light: New Concrete Base - Pole, Arm and Luminaire |  | 0
501-01 | 185 | LNFT | Conduit, PVC, 1" Diameter |  | 0
501-02 | 335 | LNFT | Conduit, PVC, 1" Diameter, Schedule 80 |  | 0
501-07 | 9323 | LNFT | Conduit, PVC, 2" Diameter |  | 0
501-08 | 883 | LNFT | Conduit, PVC, 2" Diameter, Schedule 80 |  | 0
501-09 | 1325 | LNFT | Directional Boring Including: 2" Diameter PVC Conduit |  | 0
501-98 | 186 | LNFT | Directional Boring Including: 2" Diameter PVC Conduit Schedule 80 |  | 0
502-01 | 22426 | LNFT | Electrical Wire 6 AWG |  | 0
502-03 | 3922 | LNFT | Electrical Wire Tracer 12 AWG |  | 0
502-04 | 860 | LNFT | Cable Type UF 2-12 AWG |  | 0
502-05 | 7475 | LNFT | Electrical Wire 8 AWG |  | 0
502-06 | 967 | LNFT | Electrical Wire #10 THHN/THWN (Hot Conductors) |  | 0
502-07 | 484 | LNFT | Electrical Wire #10 THHN/THWN (Equipment Grounding Conductors) |  | 0
502-20 | 9 | LNFT | Loop Detector Lead In Cable |  | 0
502-21 | 39 | LNFT | Loop Detector Wire |  | 0
503-01 | 56 | EACH | Electrical Access Box, Plastic |  | 0
503-03 | 5 | EACH | Electrical Access Box, Polymer Concrete |  | 0
503-10 | 6 | EACH | 12"x48" Steel Pull Box |  | 0
504-02 | 3 | EACH | Electrical Service Meter Pedestal |  | 0
504-95 | 2 | EACH | Salvage & Repair Loop Detector |  | 0
600-01 | 1 | LPSM | Traffic Control & Mobilization |  | 0
600-03 | 42 | DAY | Portable Changeable Message Boards |  | 0
601-01 | 1342 | SQYD | Sidewalk & Driveway Removal |  | 0
601-02 | 26151 | SQFT | 4" Concrete Sidewalk and Carriage Walk |  | 0
601-06 | 18799 | SQFT | 6" Concrete Drive Approach & Sidewalk |  | 0
601-11 | 22 | SQFT | Concrete Steps |  | 0
601-23 | 52 | LNFT | 6" Wide Variable Height Concrete Pedestrian Curb |  | 0
601-24 | 363 | EACH | Drilled Sidewalk Bars (#4x12”) |  | 0
601-26 | 6 | EACH | 4" Diameter x 18" PVC Sign Sleeve |  | 0
601-29 | 43 | SQFT | Detectable Warning Field |  | 0
601-30 | 24 | EACH | 24"x60" Detectable Warning Field |  | 0
602-01 | 2851 | LNFT | Sawcut Asphalt Pavement |  | 0
602-02 | 629 | LNFT | Sawcut Concrete Pavement |  | 0
603-20 | 8999 | LNFT | 30" Concrete Curb & Gutter - Standard |  | 0
603-27 | 415 | LNFT | 36" Concrete Curb & Gutter - Standard |  | 0
603-31 | 20 | LNFT | 24" Concrete Curb & Gutter - Standard |  | 0
603-33 | 297 | LNFT | Remove & Replace 30" Concrete Curb & Gutter |  | 0
603-50 | 37 | EACH | Drilled Tie Bars (#6x 12") |  | 0
603-52 | 54 | EACH | Drilled Dowel Bars (1¼"x 18") |  | 0
603-54 | 38 | EACH | Drilled Tie Bars (#4x 12") |  | 0
603-61 | 6 | EACH | Concrete Pavement Gaps |  | 0
603-95 | 42 | LNFT | 18" Concrete Curb and Gutter |  | 0
603-97 | 166 | LNFT | 12" Concrete Curb |  | 0
603-98 | 31 | LNFT | Sawcut and Remove Existing Curb Head |  | 0
604-01 | 492 | SQYD | 3" Asphalt Driveway and Trail |  | 0
604-02 | 43 | SQYD | 6" Gravel Driveway |  | 0
605-06 | 16948 | CUYD | Common Excavation |  | 0
605-07 | 5753 | SQYD | 6" Deep Excavation Below Subgrade & Crushed Aggregate Base Course Backfill - 3" Dense Base (Areas to be Determined by Engineer) |  | 0
605-13 | 9456 | SQYD | Break Pavement |  | 0
606-01 | 9862 | SQYD | 4" Topsoil, Seed, Fertilizer, & Hydromulch |  | 0
606-06 | 164 | TGAL | Restoration Watering |  | 0
606-96 | 131 | SQYD | Remove and Replace Landscaping |  | 0
606-97 | 1 | LPSM | Miscellaneous Restoration Firehouse (Screening) |  | 0
606-99 | 1 | LPSM | 1-yr Landscaping Warranty |  | 0
607-04 | 60 | SQFT | Remove and Replace Pavers |  | 0
607-05 | 7 | EACH | Relocate Mailbox: Including Remove, Temporarily Relocate and Permanently Replace |  | 0
801-01 | 4835 | LNFT | Pavement Marking , Epoxy, 4" |  | 0
801-02 | 137 | LNFT | Pavement Marking , Epoxy, 6" |  | 0
801-03 | 352 | LNFT | Pavement Marking , Epoxy, 8" |  | 0
801-11 | 78 | LNFT | Pavement Marking , Epoxy, 24" Diagonal |  | 0
801-99 | 1 | LPSM | Pavement Marking & Signs- Fire House 1 Parking Lot |  | 0
802-01 | 4 | EACH | Pavement Marking, Epoxy, Arrows, Type 1 |  | 0
802-02 | 7 | EACH | Pavement Marking, Epoxy, Arrows, Type 2 |  | 0
802-04 | 2 | EACH | Pavement Marking, Epoxy, Arrows, Type 3 |  | 0
803-02 | 2 | EACH | Pavement Marking, Epoxy, Words |  | 0
803-04 | 29 | LNFT | Pavement Marking, Epoxy, Stopline , 18-Inch |  | 0
803-11 | 16 | EACH | Pavement Marking, Epoxy, Bike Lane Arrows |  | 0
803-12 | 15 | EACH | Pavement Marking, Epoxy, Bike Lane Symbols |  | 0
|  |  | Base Bid Sub-Total |  | 0
Alternate 1 - Asphalt Paving - 11th, Follett, Division, Hazotte and Concrete Paving - S Military
608-01 | 1652 | CUYD | Common Excavation (Asphalt Alt) |  | 0
608-12 | 10415 | SQYD | 6" Crushed Aggregate Base Course - 1¼" Dense Base (Asphalt Alt) |  | 0
608-14 | 15303 | SQYD | 8" Crushed Aggregate Base Course - 1¼" Dense Base (Asphalt Alt) |  | 0
608-18 | 14594 | SQYD | 6" Crushed Aggregate Base Course - 3" Dense Base (Asphalt Alt) |  | 0
608-22 | 10415 | SQYD | 12" Crushed Aggregate Base Course - 3" Dense Base (Asphalt Alt) |  | 0
608-32 | 15815 | SQYD | 2½" Asphalt Binder Course (Asphalt Alt) |  | 0
608-42 | 13992 | SQYD | 2" Asphalt Surface Course (Asphalt Alt) |  | 0
608-97 | 8135 | SQYD | 8 1/2" Concrete Pavement (Asphalt Alt) |  | 0
|  |  | Alternative 1 Sub-Total |  | 0
Alternate 2 - Concrete Paving - 11th, Follett, Division, Hazotte, S Military
609-12 | 21074 | SQYD | 6" Crushed Aggregate Base Course - 1¼" Dense Base (Concrete Alt) |  | 0
609-14 | 4608 | SQYD | 8" Crushed Aggregate Base Course - 1¼" Dense Base (Concrete Alt) |  | 0
609-18 | 3934 | SQYD | 6" Crushed Aggregate Base Course - 3" Dense Base (Concrete Alt) |  | 0
609-22 | 10415 | SQYD | 12" Crushed Aggregate Base Course - 3" Dense Base (Concrete Alt) |  | 0
609-32 | 4904 | SQYD | 2½" Asphalt Binder Course (Concrete Alt) |  | 0
609-42 | 4904 | SQYD | 2" Asphalt Surface Course (Concrete Alt) |  | 0
609-97 | 17225 | SQYD | 8 1/2 " Concrete Pavement (Concrete Alt) |  | 0
|  |  | Alternative 2 Sub-Total |  | 0
|  |  | Total of Base Bid, Alternate 1 |  | 0
|  |  | Total of Base Bid, Alternate 2 |  | 0