## Sheet1
Item No | Est Qty | Units | Item Description | Unit Cost | Bid Amount
100-06 | 2043 | LNFT | 6" SDR 35 PVC Sanitary Sewer Laterals |  | 0
100-08 | 1848 | LNFT | 8" SDR 35 PVC Sanitary Sewer Main |  | 0
110-04 | 8 | EACH | 4 Ft Dia Standard Precast Sanitary Sewer Manhole Including: Frame & Cover, Complete in Place |  | 0
121-01 | 1 | EACH | Seal Existing Sanitary Sewer Main |  | 0
130-01 | 1150 | LNFT | Sanitary Sewer Lateral Pipe Burst |  | 0
130-02 | 500 | LNFT | Private Sanitary Sewer Lateral Open Cut |  | 0
130-10 | 52 | EACH | Excavation for Pipe Burst & Sanitary Sewer Lateral Reconnection |  | 0
201-12 | 1335 | LNFT | 12" Class III Reinforced Concrete Storm Sewer |  | 0
201-15 | 698 | LNFT | 15" Class III Reinforced Concrete Storm Sewer |  | 0
201-18 | 270 | LNFT | 18" Class III Reinforced Concrete Storm Sewer |  | 0
201-24 | 45 | LNFT | 24" Class III Reinforced Concrete Storm Sewer |  | 0
204-06 | 1366 | LNFT | 6" SDR 35 PVC Storm Sewer Laterals |  | 0
216-04 | 14 | EACH | 4 Ft Dia Standard Precast Storm Sewer Manhole With Flat Top Including: Frame & Cover, Complete in Place |  | 0
216-05 | 1 | EACH | 5 Ft Dia Standard Precast Storm Sewer Manhole With Flat Top Including: Frame & Cover, Complete in Place |  | 0
217-01 | 21 | EACH | Type "H" Catch Basin Including: Frame (R-3067) & Grate (Type-R), Complete in Place |  | 0
217-02 | 6 | EACH | Type "H" Catch Basin Including: Frame (R-3067) & Grate (Type-L), Complete in Place |  | 0
220-06 | 2 | EACH | 6 Ft Dia Precast Storm Sewer Manhole with 4 Ft Sump Including: Frame & Cover, Complete in Place |  | 0
230-01 | 1 | EACH | Connect to Existing Storm Sewer Structure (Existing Opening) |  | 0
230-04 | 2 | EACH | Connect to Existing Storm Sewer Main |  | 0
230-05 | 3 | EACH | Connect to Existing Storm Lateral |  | 0
230-06 | 1 | EACH | Concrete Collars for Pipe |  | 0
231-01 | 15 | EACH | Abandon and Seal Existing Catch Basin |  | 0
231-02 | 1 | EACH | Abandon Existing Storm Manhole |  | 0
250-01 | 2075 | LNFT | Private Storm Sewer Laterals |  | 0
250-10 | 5 | EACH | Excavation for Sump Pump Basin |  | 0
250-11 | 20 | EACH | Sump Pump and Basin |  | 0
250-12 | 20 | EACH | Sump Pump Plumb and Connection |  | 0
250-13 | 34 | EACH | Connect to Existing Sump Pump |  | 0
312-06 | 51 | EACH | Inlet Protection - Type D-M |  | 0
400-06 | 91 | LNFT | 6" PVC DR18 Water Main |  | 0
400-08 | 2253 | LNFT | 8" PVC DR18 Water Main |  | 0
406-06 | 4 | EACH | Connect to Existing 6" Water Main |  | 0
406-08 | 4 | EACH | Connect to Existing 8" Water Main |  | 0
407-01 | 7 | EACH | 32# Anode Bag |  | 0
407-02 | 1 | EACH | Temporary 2" Blow Off |  | 0
410-06 | 8 | EACH | 6" Water Main Valve and Box |  | 0
410-08 | 9 | EACH | 8" Water Main Valve and Box |  | 0
412-03 | 3 | EACH | 8"x 8" Cross |  | 0
413-05 | 9 | EACH | 8"x 6" Tee |  | 0
413-06 | 3 | EACH | 8"x 8" Tee |  | 0
414-06 | 4 | EACH | 6"-90° Bend |  | 0
414-08 | 2 | EACH | 8"-90° Bend |  | 0
415-08 | 1 | EACH | 8"-45° Bend |  | 0
416-08 | 4 | EACH | 8"-22½° Bend |  | 0
419-06 | 4 | EACH | 6" Cap on Existing Main |  | 0
419-08 | 2 | EACH | 8" Cap on Existing Main |  | 0
420-08 | 7 | EACH | 8" Plug |  | 0
430-04 | 58 | EACH | 1¼" Water Service Including: Corp, Stop, Box Saddle and Union |  | 0
430-05 | 1895 | LNFT | 1¼" Polyethylene Water Service Pipe |  | 0
440-01 | 5 | EACH | Fire Hydrant |  | 0
440-02 | 3 | EACH | Abandon Existing Hydrant |  | 0
450-01 | 250 | LNFT | Water Service Pipe Burst |  | 0
450-02 | 267 | LNFT | Water Service Trenchless |  | 0
450-03 | 250 | LNFT | Private Water Service Open Cut |  | 0
450-10 | 66 | EACH | Excavation for Water Service Trenchless |  | 0
450-20 | 17 | EACH | Water Meter Setting and Interior Plumbing <5' |  | 0
450-21 | 10 | EACH | Water Meter Setting and Interior Plumbing >5' |  | 0
450-30 | 27 | EACH | Electrical Grounding Electrode System |  | 0
500-02 | 34 | EACH | Electrical Access Box, Plastic, Installation |  | 0
501-07 | 4583 | LNFT | Conduit, Schedule 40 PVC, 2" Diameter |  | 0
502-01 | 8378 | LNFT | Electrical Wire 6 AWG |  | 0
502-02 | 2793 | LNFT | Electrical Wire 8 AWG |  | 0
502-04 | 720 | LNFT | Electrical Wire 12 AWG |  | 0
502-05 | 1795 | LNFT | Tracer Wire |  | 0
503-02 | 1 | EACH | Electrical Service Meter Pedestal Installation |  | 0
505-11 | 12 | EACH | Ornamental Street Light Pole and LED Luminaire Installation |  | 0
600-01 | 1 | LPSM | Traffic Control |  | 0
601-02 | 17344 | SQFT | 4" Concrete Sidewalk and Carriage Walk |  | 0
601-06 | 7943 | SQFT | 6" Concrete Drive Approach & Sidewalk |  | 0
601-23 | 83 | LNFT | 6" Wide Variable Height Concrete Pedestrian Curb |  | 0
601-24 | 32 | EACH | Drilled Sidewalk Bars (#4x12”) |  | 0
601-29 | 170 | SQFT | Detectable Warning Field |  | 0
601-30 | 9 | EACH | 24"x60" Detectable Warning Field |  | 0
602-01 | 381 | LNFT | Sawcut Asphalt Pavement |  | 0
602-02 | 426 | LNFT | Sawcut Concrete Pavement |  | 0
603-20 | 3616 | LNFT | 30" Concrete Curb & Gutter - Standard |  | 0
603-27 | 503 | LNFT | 36" Concrete Curb & Gutter - Standard |  | 0
603-35 | 5 | LNFT | Remove & Replace 24" Concrete Curb & Gutter |  | 0
604-01 | 23 | SQYD | 3" Asphalt Driveway and Trail |  | 0
604-02 | 4 | SQYD | 6" Gravel Driveway |  | 0
605-06 | 5386 | CUYD | Common Excavation |  | 0
605-07 | 1665 | SQYD | 6" Deep Excavation Below Subgrade & Crushed Aggregate Base Course Backfill - 3" Dense Base (Areas to be Determined by Engineer) |  | 0
605-30 | 60 | EACH | Crack & Damage Survey |  | 0
606-01 | 1648 | SQYD | 4" Topsoil, Seed, Fertilizer, & Hydromulch |  | 0
606-06 | 28 | TGAL | Restoration Watering |  | 0
|  |  | Base Bid Sub-Total |  | 0
Alternate 1 - Asphalt Paving
608-01 | 1822 | CUYD | Common Excavation (Asphalt Alt) |  | 0
608-14 | 8865 | SQYD | 8" Crushed Aggregate Base Course - 1¼" Dense Base (Asphalt Alt) |  | 0
608-18 | 8118 | SQYD | 6" Crushed Aggregate Base Course - 3" Dense Base (Asphalt Alt) |  | 0
608-32 | 7285 | SQYD | 2½" Asphalt Binder Course (Asphalt Alt) |  | 0
608-42 | 7285 | SQYD | 2" Asphalt Surface Course (Asphalt Alt) |  | 0
|  |  | Alternate 1 - Sub Total |  | 0
Alternate 2 - Concrete Paving
609-10 | 8118 | SQYD | 5" Crushed Aggregate Base Course - 1¼" Dense Base (Concrete Alt) |  | 0
609-14 | 747 | SQYD | 8" Crushed Aggregate Base Course - 1¼" Dense Base (Concrete Alt) |  | 0
609-32 | 624 | SQYD | 2½" Asphalt Binder Course (Concrete Alt) |  | 0
609-42 | 624 | SQYD | 2" Asphalt Surface Course (Concrete Alt) |  | 0
609-51 | 6662 | SQYD | 7" Concrete Pavement (Concrete Alt) |  | 0
|  |  | Alternate 2 - Sub Total |  | 0
|  |  | Total Base Bid, Alternate 1 |  | 0
|  |  | Total Base Bid, Alternate 2 |  | 0