## Sheet1
Item No | Est Qty | Units | Item Description | Unit Cost | Bid Amount
100-06 | 224 | LNFT | 6" SDR 35 PVC Sanitary Sewer Laterals |  | 0
100-08 | 781 | LNFT | 8" SDR 35 PVC Sanitary Sewer Main |  | 0
100-15 | 29 | LNFT | 15" SDR 35 PVC Sanitary Sewer Main |  | 0
100-18 | 12 | LNFT | 18" PS46 PVC Sanitary Sewer Main |  | 0
110-04 | 5 | EACH | 4 Ft Dia Standard Precast Sanitary Sewer Manhole Including: Frame & Cover, Complete in Place |  | 0
110-05 | 1 | EACH | 5 Ft Dia Standard Precast Sanitary Sewer Manhole Including: Frame & Cover, Complete in Place |  | 0
120-20 | 1 | EACH | Connect to Existing Sanitary Sewer Manhole |  | 0
120-21 | 5 | EACH | Connect to Existing Sanitary Sewer Main |  | 0
121-02 | 2 | EACH | Abandon Existing Sanitary Sewer Manhole |  | 0
122-04 | 2 | EACH | Neenah Foundry R-1550 (9") Sanitary Manhole Frame & Cover Including Adjusting Rings |  | 0
201-12 | 254 | LNFT | 12" Class III Reinforced Concrete Storm Sewer |  | 0
201-15 | 667 | LNFT | 15" Class III Reinforced Concrete Storm Sewer |  | 0
201-18 | 429 | LNFT | 18" Class III Reinforced Concrete Storm Sewer |  | 0
201-24 | 3 | LNFT | 24" Class III Reinforced Concrete Storm Sewer |  | 0
204-06 | 2 | LNFT | 6" SDR 35 PVC Storm Sewer Laterals |  | 0
204-08 | 64 | LNFT | 8" SDR 35 PVC Storm Sewer Main |  | 0
204-10 | 19 | LNFT | 10" SDR 35 PVC Storm Sewer Main |  | 0
216-04 | 11 | EACH | 4 Ft Dia Standard Precast Storm Sewer Manhole With Flat Top Including: Frame & Cover, Complete in Place |  | 0
216-05 | 1 | EACH | 5 Ft Dia Standard Precast Storm Sewer Manhole With Flat Top Including: Frame & Cover, Complete in Place |  | 0
217-01 | 8 | EACH | Type "H" Catch Basin Including: Frame (R-3067) & Grate (Type-R), Complete in Place |  | 0
217-02 | 4 | EACH | Type "H" Catch Basin Including: Frame (R-3067) & Grate (Type-L), Complete in Place |  | 0
220-04 | 1 | EACH | 4 Ft Dia Precast Storm Sewer Manhole with 4 Ft Sump Including: Frame & Cover, Complete in Place |  | 0
230-02 | 3 | EACH | Connect to Existing Storm Sewer Structure (New Connection) |  | 0
230-04 | 1 | EACH | Connect to Existing Storm Sewer Main |  | 0
230-05 | 4 | EACH | Connect to Existing Storm Lateral |  | 0
230-06 | 5 | EACH | Concrete Collars for Pipe |  | 0
231-01 | 6 | EACH | Abandon and Seal Existing Catch Basin |  | 0
231-02 | 2 | EACH | Abandon Existing Storm Manhole |  | 0
231-03 | 5 | EACH | Seal Existing Storm Sewer Main |  | 0
231-05 | 4 | CUYD | Abandoned Storm Sewer Fill (Cellular Concrete or Sand) |  | 0
232-04 | 1 | EACH | Neenah Foundry R-1550 (9") Storm Manhole Frame and Cover Including Adjusting Rings |  | 0
302-01 | 168 | SQYD | Temporary Seeding |  | 0
312-06 | 40 | EACH | Inlet Protection - Type D-M |  | 0
312-08 | 1 | EACH | Inlet Protection - Pod Type |  | 0
313-01 | 1 | EACH | Stone Tracking Pad w/ Type R Fabric |  | 0
400-06 | 1348 | LNFT | 6" PVC DR18 Water Main |  | 0
400-08 | 265 | LNFT | 8" PVC DR18 Water Main |  | 0
401-06 | 337 | LNFT | 6" Ductile Iron Water Main |  | 0
401-08 | 66 | LNFT | 8" Ductile Iron Water Main |  | 0
406-10 | 1 | EACH | Connect to Existing 10" Water Main |  | 0
406-12 | 2 | EACH | Connect to Existing 12" Water Main |  | 0
407-01 | 6 | EACH | 32# Anode Bag |  | 0
407-04 | 600 | SQFT | 2" Polystyrene Insulation - Water Main and Services |  | 0
407-95 | 1 | LPSM | Abandon & Grout Water Main and Manhole |  | 0
407-96 | 22 | EACH | 6" Nitrile Gasket |  | 0
407-97 | 4 | EACH | 8" Nitrile Gasket |  | 0
407-98 | 22 | EACH | 6" Fluorocarbon Gasket |  | 0
407-99 | 4 | EACH | 8" Fluorocarbon Gasket |  | 0
410-06 | 9 | EACH | 6" Water Main Valve and Box |  | 0
411-09 | 1 | EACH | 10"x 8" Tapping Sleeve and Valve |  | 0
411-12 | 2 | EACH | 12"x 6" Tapping Sleeve and Valve |  | 0
413-03 | 6 | EACH | 6"x 6" Tee |  | 0
413-05 | 3 | EACH | 8"x 6" Tee |  | 0
415-06 | 4 | EACH | 6"-45° Bend |  | 0
415-08 | 2 | EACH | 8"-45° Bend |  | 0
416-06 | 5 | EACH | 6"-22½° Bend |  | 0
417-06 | 1 | EACH | 6"-11¼° Bend |  | 0
419-06 | 3 | EACH | 6" Cap on Existing Main |  | 0
419-08 | 2 | EACH | 8" Cap on Existing Main |  | 0
419-10 | 1 | EACH | 10" Cap on Existing Main |  | 0
420-08 | 1 | EACH | 8" Plug |  | 0
430-04 | 2 | EACH | 1¼" Water Service Including: Corp, Stop, Box Saddle and Union |  | 0
430-05 | 39 | LNFT | 1¼" Polyethylene Water Service Pipe |  | 0
430-10 | 1 | EACH | 2" Water Service Including: Corp, Stop, Box Saddle and Union |  | 0
430-11 | 13 | LNFT | 2" Polyethylene Water Service Pipe |  | 0
430-95 | 39 | LNFT | 1" Copper Water Service Pipe |  | 0
430-96 | 13 | LNFT | 2" Copper Water Service Pipe |  | 0
440-01 | 4 | EACH | Fire Hydrant |  | 0
440-02 | 5 | EACH | Abandon Existing Hydrant |  | 0
500-02 | 13 | EACH | Electrical Access Box, Plastic, Installation |  | 0
501-07 | 1880 | LNFT | Conduit, Schedule 40 PVC, 2" Diameter |  | 0
502-01 | 4342 | LNFT | Electrical Wire 6 AWG |  | 0
502-02 | 1881 | LNFT | Electrical Wire 8 AWG |  | 0
502-04 | 420 | LNFT | Electrical Wire 12 AWG |  | 0
502-05 | 473 | LNFT | Tracer Wire |  | 0
505-11 | 7 | EACH | Ornamental Street Light Pole and LED Luminaire Installation |  | 0
600-01 | 1 | LPSM | Traffic Control |  | 0
601-02 | 7261 | SQFT | 4" Concrete Sidewalk and Carriage Walk |  | 0
601-06 | 1729 | SQFT | 6" Concrete Drive Approach & Sidewalk |  | 0
601-23 | 143 | LNFT | 6" Wide Variable Height Concrete Pedestrian Curb |  | 0
601-24 | 10 | EACH | Drilled Sidewalk Bars (#4x12”) |  | 0
601-30 | 5 | EACH | 24"x60" Detectable Warning Field |  | 0
602-02 | 938 | LNFT | Sawcut Concrete Pavement |  | 0
603-08 | 94 | SQYD | Remove and Replace 8" Concrete Pavement - HES |  | 0
603-20 | 2115 | LNFT | 30" Concrete Curb & Gutter - Standard |  | 0
603-27 | 430 | LNFT | 36" Concrete Curb & Gutter - Standard |  | 0
603-33 | 38 | LNFT | Remove & Replace 30" Concrete Curb & Gutter |  | 0
603-50 | 52 | EACH | Drilled Tie Bars (#6x 12") |  | 0
603-52 | 83 | EACH | Drilled Dowel Bars (1¼"x 18") |  | 0
603-54 | 12 | EACH | Drilled Tie Bars (#4x 12") |  | 0
603-95 | 44 | LNFT | Temporary 30" Curb & Gutter |  | 0
604-01 | 137 | SQYD | 3" Asphalt Driveway and Trail |  | 0
604-95 | 1072 | SQYD | Temporary Pavement |  | 0
604-96 | 73 | SQYD | Temporary Sidewalk |  | 0
605-01 | 1 | LPSM | Clearing & Grubbing |  | 0
605-06 | 1521 | CUYD | Common Excavation |  | 0
605-07 | 509 | SQYD | 6" Deep Excavation Below Subgrade & Crushed Aggregate Base Course Backfill - 3" Dense Base (Areas to be Determined by Engineer) |  | 0
606-01 | 1714 | SQYD | 4" Topsoil, Seed, Fertilizer, & Hydromulch |  | 0
606-06 | 29 | TGAL | Restoration Watering |  | 0
607-02 | 1 | LPSM | Remove Existing Fence |  | 0
607-95 | 1 | LPSM | Remove Block Bins |  | 0
|  |  | Base Bid Sub-Total |  | 0
Alternate 1 - Asphalt Paving
608-01 | 471 | CUYD | Common Excavation (Asphalt Alt) |  | 0
608-12 | 536 | SQYD | 6" Crushed Aggregate Base Course - 1¼" Dense Base (Asphalt Alt) |  | 0
608-14 | 2605 | SQYD | 8" Crushed Aggregate Base Course - 1¼" Dense Base (Asphalt Alt) |  | 0
608-18 | 2605 | SQYD | 6" Crushed Aggregate Base Course - 3" Dense Base (Asphalt Alt) |  | 0
608-32 | 2035 | SQYD | 2½" Asphalt Binder Course (Asphalt Alt) |  | 0
608-42 | 2035 | SQYD | 2" Asphalt Surface Course (Asphalt Alt) |  | 0
608-52 | 478 | SQYD | 8" Concrete Pavement (Asphalt Alt) |  | 0
|  |  | Alternate 1 - Sub Total |  | 0
Alternate 2 - Concrete Paving
609-10 | 2605 | SQYD | 5" Crushed Aggregate Base Course - 1¼" Dense Base (Concrete Alt) |  | 0
609-12 | 536 | SQYD | 6" Crushed Aggregate Base Course - 1¼" Dense Base (Concrete Alt) |  | 0
609-51 | 2035 | SQYD | 7" Concrete Pavement (Concrete Alt) |  | 0
609-52 | 478 | SQYD | 8" Concrete Pavement (Concrete Alt) |  | 0
|  |  | Alternate 2 - Sub Total |  | 0
|  |  | Total Base Bid, Alternate 1 |  | 0
|  |  | Total Base Bid, Alternate 2 |  | 0