## Sheet1
Item No | Est Qty | Units | Item Description | Unit Cost | Bid Amount
100-06 | 2476 | LNFT | 6-Inch SDR 35 PVC Sanitary Sewer Laterals | 0 | 0
100-08 | 3616 | LNFT | 8-Inch SDR 35 PVC Sanitary Sewer Main | 0 | 0
100-10 | 3 | LNFT | 10-Inch SDR 35 PVC Sanitary Sewer Main | 0 | 0
110-04 | 13 | EACH | 4-FT Diameter Standard Precast Sanitary Sewer Manhole Including: Frame and Cover, Complete in Place | 0 | 0
112-04 | 1 | EACH | 4-FT Diameter Standard Precast Sanitary Sewer Outside Drop Manhole Including: Frame and Cover, Complete in Place | 0 | 0
120-20 | 4 | EACH | Connect to Existing Sanitary Sewer Manhole | 0 | 0
120-21 | 3 | EACH | Connect to Existing Sanitary Sewer Main | 0 | 0
121-01 | 1 | EACH | Seal Existing Sanitary Sewer Main | 0 | 0
121-02 | 3 | EACH | Abandon Existing Sanitary Sewer Manhole | 0 | 0
122-01 | 2 | EACH | Adjust Existing Sanitary Manhole Rings and Frame | 0 | 0
122-04 | 4 | EACH | Neenah Foundry R-1550 (9-Inch) Sanitary Manhole Frame and Cover Including Adjusting Rings | 0 | 0
124-02 | 1250 | SQFT | 2-Inch Polystyrene Insulation - Sanitary Sewer | 0 | 0
200-12 | 1102 | LNFT | 12-Inch Storm Sewer Pipe | 0 | 0
200-15 | 800 | LNFT | 15-Inch Storm Sewer Pipe | 0 | 0
200-18 | 616 | LNFT | 18-Inch Storm Sewer Pipe | 0 | 0
201-12 | 1131 | LNFT | 12-Inch Class III Reinforced Concrete Storm Sewer | 0 | 0
201-15 | 286 | LNFT | 15-Inch Class III Reinforced Concrete Storm Sewer | 0 | 0
201-18 | 24 | LNFT | 18-Inch Class III Reinforced Concrete Storm Sewer | 0 | 0
201-21 | 21 | LNFT | 21-Inch Class III Reinforced Concrete Storm Sewer | 0 | 0
201-24 | 18 | LNFT | 24-Inch Class III Reinforced Concrete Storm Sewer | 0 | 0
201-27 | 25 | LNFT | 27-Inch Class III Reinforced Concrete Storm Sewer | 0 | 0
201-30 | 32 | LNFT | 30-Inch Class III Reinforced Concrete Storm Sewer | 0 | 0
201-36 | 658 | LNFT | 36-Inch Class III Reinforced Concrete Storm Sewer | 0 | 0
201-42 | 1 | LNFT | 42-Inch Class III Reinforced Concrete Storm Sewer | 0 | 0
203-12 | 133 | LNFT | 12-Inch Class V Reinforced Concrete Storm Sewer | 0 | 0
203-15 | 290 | LNFT | 15-Inch Class V Reinforced Concrete Storm Sewer | 0 | 0
206-04 | 19 | LNFT | 4-Inch SDR 35 PVC Storm Sewer Laterals | 0 | 0
206-06 | 1528 | LNFT | 6-Inch SDR 35 PVC Storm Sewer Laterals | 0 | 0
206-08 | 55 | LNFT | 8-Inch SDR 35 PVC Storm Sewer Main | 0 | 0
206-10 | 102 | LNFT | 10-Inch SDR 35 PVC Storm Sewer Main | 0 | 0
206-15 | 4 | LNFT | 15-Inch SDR 35 PVC Storm Sewer Main | 0 | 0
211-12 | 9 | LNFT | 12-Inch HDPE Dual Wall Storm Sewer | 0 | 0
221-04 | 14 | EACH | 4-FT Diameter Standard Precast Storm Sewer Manhole With Flat Top Including: Frame and Cover, Complete in Place | 0 | 0
221-05 | 3 | EACH | 5-FT Diameter Standard Precast Storm Sewer Manhole With Flat Top Including: Frame and Cover, Complete in Place | 0 | 0
221-06 | 5 | EACH | 6-FT Diameter Standard Precast Storm Sewer Manhole With Flat Top Including: Frame and Cover, Complete in Place | 0 | 0
221-08 | 1 | EACH | 8-FT Diameter Standard Precast Storm Sewer Manhole With Flat Top Including: Frame and Cover, Complete in Place | 0 | 0
221-24 | 4 | EACH | 4-FT Diameter Standard Precast Storm Sewer Manhole With Flat Top Including: Type "H" Catch Basin Frame (R-3067) and Grate, Complete in Place | 0 | 0
222-01 | 34 | EACH | Type "H" Catch Basin Including: Frame (R-3067) and Grate (Type-R), Complete in Place | 0 | 0
222-02 | 10 | EACH | Type "H" Catch Basin Including: Frame (R-3067) and Grate (Type-L), Complete in Place | 0 | 0
223-24 | 1 | EACH | 24-Inch Diameter Field Inlet Including: Frame (R-5901-E) and Grate (Type-G), Complete in Place | 0 | 0
223-30 | 2 | EACH | 30-Inch Diameter Field Inlet Including: Frame (R-5901-G) and Grate (Type-G), Complete in Place | 0 | 0
223-31 | 1 | EACH | 30-Inch Diameter Field Inlet Including: Frame (R-2560-E) and Grate (Beehive), Complete in Place | 0 | 0
225-04 | 2 | EACH | 4-FT Diameter Precast Storm Sewer Manhole with 4-FT Sump Including: Frame and Cover, Complete in Place | 0 | 0
225-06 | 2 | EACH | 6-FT Diameter Precast Storm Sewer Manhole with 4-FT Sump Including: Frame and Cover, Complete in Place | 0 | 0
230-01 | 2 | EACH | Connect to Existing Storm Sewer Structure (Existing Opening) | 0 | 0
230-02 | 11 | EACH | Connect to Existing Storm Sewer Structure (New Connection) | 0 | 0
230-03 | 3 | EACH | Connect to Existing Storm Sewer Structure (New Connection and Bench Modification) | 0 | 0
230-04 | 6 | EACH | Connect to Existing Storm Sewer Main | 0 | 0
230-05 | 9 | EACH | Connect to Existing Storm Lateral | 0 | 0
230-06 | 8 | EACH | Concrete Collars for Pipe | 0 | 0
231-01 | 16 | EACH | Abandon and Seal Existing Catch Basin | 0 | 0
231-02 | 7 | EACH | Abandon Existing Storm Manhole | 0 | 0
231-03 | 17 | EACH | Seal Existing Storm Sewer Main | 0 | 0
231-05 | 211 | CUYD | Abandoned Storm Sewer Fill (Cellular Concrete or Sand) | 0 | 0
231-06 | 208 | LNFT | Remove Existing Storm Sewer 30-Inch and Smaller | 0 | 0
232-01 | 5 | EACH | Adjust Existing Storm Manhole or Catch Basin Rings and Frame | 0 | 0
233-08 | 1 | EACH | 8-Inch Storm Sewer Bulkhead | 0 | 0
233-10 | 2 | EACH | 10-Inch Storm Sewer Bulkhead | 0 | 0
233-12 | 3 | EACH | 12-Inch Storm Sewer Bulkhead | 0 | 0
300-98 | 29 | SQYD | Remove Riprap | 0 | 0
312-06 | 104 | EACH | Inlet Protection - Type D-M | 0 | 0
400-06 | 15 | EACH | Connect to Existing 6-Inch Water Main | 0 | 0
400-08 | 16 | EACH | Connect to Existing 8-Inch Water Main | 0 | 0
400-40 | 80 | CUYD | Slurry Backfill | 0 | 0
404-06 | 869 | LNFT | 6-Inch PVC DR18 Water Main | 0 | 0
404-08 | 4064 | LNFT | 8-Inch PVC DR18 Water Main | 0 | 0
408-08 | 1284 | LNFT | 8-Inch HDPE DR11 Water Main by Directional Drilling | 0 | 0
420-04 | 3 | EACH | 8x6-Inch Cross | 0 | 0
420-05 | 3 | EACH | 8x8-Inch Cross | 0 | 0
421-03 | 4 | EACH | 6x6-Inch Tee | 0 | 0
421-05 | 15 | EACH | 8x6-Inch Tee | 0 | 0
421-06 | 5 | EACH | 8x8-Inch Tee | 0 | 0
422-06 | 6 | EACH | 6-Inch 90-Degree Bend | 0 | 0
422-08 | 4 | EACH | 8-Inch 90-Degree Bend | 0 | 0
423-06 | 2 | EACH | 6-Inch 45-Degree Bend | 0 | 0
423-08 | 12 | EACH | 8-Inch 45-Degree Bend | 0 | 0
424-06 | 1 | EACH | 6-Inch 22½-Degree Bend | 0 | 0
424-08 | 6 | EACH | 8-Inch 22½-Degree Bend | 0 | 0
425-06 | 1 | EACH | 6-Inch 11¼-Degree Bend | 0 | 0
426-03 | 1 | EACH | 8x6-Inch Reducer | 0 | 0
427-04 | 4 | EACH | 4-Inch Cap on Existing Main | 0 | 0
427-06 | 3 | EACH | 6-Inch Cap on Existing Main | 0 | 0
427-08 | 2 | EACH | 8-Inch Cap on Existing Main | 0 | 0
428-04 | 1 | EACH | 4-Inch Plug | 0 | 0
428-06 | 3 | EACH | 6-Inch Plug | 0 | 0
428-08 | 15 | EACH | 8-Inch Plug | 0 | 0
430-06 | 12 | EACH | 6-Inch Water Main Valve and Box | 0 | 0
430-08 | 24 | EACH | 8-Inch Water Main Valve and Box | 0 | 0
440-01 | 10 | EACH | Fire Hydrant | 0 | 0
450-02 | 789 | SQFT | 2-Inch Polystyrene Insulation - Water Main and Services | 0 | 0
452-01 | 24 | EACH | 32 Lb Anode Bag | 0 | 0
453-01 | 2 | EACH | Temporary 2-Inch Blow Off | 0 | 0
454-01 | 5 | EACH | Abandon Existing Hydrant | 0 | 0
454-98 | 1 | EACH | Abandon Valve | 0 | 0
460-10 | 95 | EACH | 1¼-Inch Water Service Including: Corp, Stop, Box Saddle and Union | 0 | 0
460-11 | 3024 | LNFT | 1¼-Inch Polyethylene Water Service Pipe | 0 | 0
460-30 | 1 | EACH | 2-Inch Water Service Including: Corp, Stop, Box Saddle and Union | 0 | 0
460-31 | 42 | LNFT | 2-Inch Polyethylene Water Service Pipe | 0 | 0
500-02 | 37 | EACH | Electrical Access Box, Plastic, Installation | 0 | 0
500-98 | 4 | EACH | Remove and Replace Electrical Access Box | 0 | 0
501-07 | 6411 | LNFT | Conduit, Schedule 40 PVC, 2-Inch Diameter | 0 | 0
502-01 | 20795 | LNFT | Electrical Wire 6 AWG | 0 | 0
502-02 | 6973 | LNFT | Electrical Wire 8 AWG | 0 | 0
502-04 | 2100 | LNFT | Electrical Wire 12 AWG | 0 | 0
502-05 | 705 | LNFT | Tracer Wire | 0 | 0
503-02 | 1 | EACH | Electrical Service Meter Pedestal Installation | 0 | 0
503-98 | 1 | EACH | Remove and Replace Electrical Service Meter Pedestal | 0 | 0
504-20 | 6 | EACH | Remove Concrete Bases | 0 | 0
505-11 | 35 | EACH | Ornamental Street Light Pole and LED Luminaire Installation | 0 | 0
506-89 | 3 | EACH | Remove Signal Face | 0 | 0
506-90 | 3 | EACH | Remove Signal Standard | 0 | 0
506-91 | 2 | EACH | Pedestrian Push Button 4-ft Standard Pole Installation | 0 | 0
506-92 | 1 | EACH | RRFB Standard Installation | 0 | 0
506-93 | 1 | EACH | RRFB Pole Installation | 0 | 0
506-94 | 2 | EACH | Salvage Signal Standard | 0 | 0
506-95 | 1 | EACH | Salvage Signal Cabinet | 0 | 0
600-10 | 1 | LPSM | Traffic Control | 0 | 0
601-01 | 1741 | LNFT | Sawcut Asphalt Pavement | 0 | 0
601-02 | 1646 | LNFT | Sawcut Concrete Pavement | 0 | 0
602-10 | 3 | EACH | Crack and Damage Survey | 0 | 0
602-20 | 9826 | CUYD | Common Excavation | 0 | 0
602-21 | 5110 | SQYD | Excavation Below Subgrade and 3-Inch Dense Base | 0 | 0
602-22 | 50 | CUYD | Rock Excavation | 0 | 0
602-32 | 1439 | SQYD | Sidewalk and Driveway Removal | 0 | 0
602-35 | 2 | EACH | Remove and Replace Fence | 0 | 0
604-01 | 191 | EACH | Drilled Tie Bars (No. 4 X 12-Inch) | 0 | 0
604-03 | 8 | EACH | Drilled Dowel Bars (1 X 18-Inch) | 0 | 0
604-50 | 1 | EACH | Concrete Surface Drain and Flume | 0 | 0
605-10 | 9479 | LNFT | 30-Inch Concrete Curb and Gutter - Standard | 0 | 0
605-20 | 749 | LNFT | 36-Inch Concrete Curb and Gutter - Standard | 0 | 0
605-95 | 25 | LNFT | Remove and Replace Integral Curb | 0 | 0
606-01 | 23763 | SQFT | 4-Inch Concrete Sidewalk and Carriage Walk | 0 | 0
606-20 | 19316 | SQFT | 6-Inch Concrete Drive Approach and Sidewalk | 0 | 0
606-50 | 428 | EACH | Drilled Sidewalk Bars (No. 4 X 12-Inch) | 0 | 0
606-62 | 33 | EACH | 24x60-Inch Detectable Warning Field | 0 | 0
606-65 | 66 | LNFT | Concrete Pedestrian Curb | 0 | 0
606-70 | 156 | SQFT | Concrete Steps | 0 | 0
608-01 | 26 | SQYD | 3-Inch Asphalt Driveway and Trail | 0 | 0
608-30 | 131 | SQYD | 6-Inch Gravel Driveway | 0 | 0
610-01 | 7166 | SQYD | 4-Inch Topsoil, Seed, Fertilizer, and Hydromulch | 0 | 0
610-10 | 115 | TGAL | Restoration Watering | 0 | 0
610-99 | 40 | EACH | Landscaping and Restoration on Private Property | 0 | 0
|  |  | Base Bid Sub-Total |  | 0
Alternate 1 - Asphalt Paving
611-01 | 2785 | CUYD | Common Excavation (Asphalt Alt) | 0 | 0
611-10 | 2841 | SQYD | 5-Inch Crushed Aggregate Base Course - 1¼-Inch Dense Base (Asphalt Alt) | 0 | 0
611-12 | 116 | SQYD | 6-Inch Crushed Aggregate Base Course - 1¼-Inch Dense Base (Asphalt Alt) | 0 | 0
611-14 | 18077 | SQYD | 8-Inch Crushed Aggregate Base Course - 1¼-Inch Dense Base (Asphalt Alt) | 0 | 0
611-18 | 16744 | SQYD | 6-Inch Crushed Aggregate Base Course - 3-Inch Dense Base (Asphalt Alt) | 0 | 0
611-42 | 14752 | SQYD | 2½-Inch Asphalt Binder Course (Asphalt Alt) | 0 | 0
611-52 | 14752 | SQYD | 2-Inch Asphalt Surface Course (Asphalt Alt) | 0 | 0
611-60 | 90 | SQYD | 6-Inch Concrete Pavement (Asphalt Alt) | 0 | 0
611-61 | 2227 | SQYD | 7-Inch Concrete Pavement (Asphalt Alt) | 0 | 0
611-62 | 152 | SQYD | 8-Inch Concrete Pavement (Asphalt Alt) | 0 | 0
|  |  | Alternate 1 - Sub Total |  | 0
Alternate 2 - Concrete Paving
612-10 | 17141 | SQYD | 5-Inch Crushed Aggregate Base Course - 1¼-Inch Dense Base (Concrete Alt) | 0 | 0
612-11 | 926 | SQYD | 5½-Inch Crushed Aggregate Base Course - 1¼-Inch Dense Base (Concrete Alt) | 0 | 0
612-12 | 116 | SQYD | 6-Inch Crushed Aggregate Base Course - 1¼-Inch Dense Base (Concrete Alt) | 0 | 0
612-14 | 3012 | SQYD | 8-Inch Crushed Aggregate Base Course - 1¼-Inch Dense Base (Concrete Alt) | 0 | 0
612-18 | 1680 | SQYD | 6-Inch Crushed Aggregate Base Course - 3-Inch Dense Base (Concrete Alt) | 0 | 0
612-42 | 2764 | SQYD | 2½-Inch Asphalt Binder Course (Concrete Alt) | 0 | 0
612-52 | 2764 | SQYD | 2-Inch Asphalt Surface Course (Concrete Alt) | 0 | 0
612-60 | 90 | SQYD | 6-Inch Concrete Pavement (Concrete Alt) | 0 | 0
612-61 | 14216 | SQYD | 7-Inch Concrete Pavement (Concrete Alt) | 0 | 0
612-62 | 152 | SQYD | 8-Inch Concrete Pavement (Concrete Alt) | 0 | 0
|  |  | Alternate 2 - Sub Total |  | 0
|  |  | Total Base Bid, Alternate 1 |  | 0
|  |  | Total Base Bid, Alternate 2 |  | 0