City of Fond du Lac

Engineering Division

Grading / Erosion Control / Stormwater Management

Plan Review Checklist

Date Submitted:

Name/Site Address:	     	Contact Person:

Parcel:       	Firm:

Phone:       	Email:

Property Owner:       	Applicant:

Address:       	Address:

Phone:       	Fax:       	Phone:       	Fax:

General Plan Layout

| No. | Completed | Identified but Not Complete | Not Applicable | Item |
| --- | --- | --- | --- | --- |
| 1 |  |  |  | Drainage, Grading and Erosion Control Plans signed by a Licensed Wisconsin Engineer, Land Surveyor or Architect (with graphic scale, legend, north arrow, elevation certification, etc.). |
| 2 |  |  |  | Storm Runoff Calculations signed by a Licensed Wisconsin Professional Engineer. |
| 3 |  |  |  | Location Map |
| 4 |  |  |  | Owner and Engineer contact information is provided. |
| 5 |  |  |  | Adjacent and surrounding streets labeled. |
| 6 |  |  |  | Benchmark(s) used for the site identified. All elevations on the plans should correspond to the NAVD 88 Datum. |
| 7 |  |  |  | Property and right-of-way lines shown including project boundary bearings and dimensions. |
| 8 |  |  |  | Existing and proposed public and private easements for utility, drainage, or other purposes identified. |
| 9 |  |  |  | Existing and proposed improvements/features for the site and adjacent to the property shown (street, curb & gutter, right-of-way widths, sidewalks, existing and proposed utilities, etc.) |
| 10 |  |  |  | Proposed storm sewer and sanitary sewer system information shown on the plans (i.e. rim elevations, invert elevations, pipe sizes, materials, and slopes, lateral locations, etc.) |
| 11 |  |  |  | Location and applicable details of pertinent features shown, such as: |
|  |  |  |  |  | Existing cover types; including tree locations |
|  |  |  |  |  | Drive approach |
|  |  |  |  |  | Proposed storm sewer manholes, catch basins, culvert/outlet pipe flared end sections, & drainage swale(s) |
|  |  |  |  |  | Riprap |
|  |  |  |  |  | Silt fence, rocked entry/tracking pad, inlet protection |
|  |  |  |  |  | Proposed pavement and base course types and thicknesses |
|  |  |  |  |  | Retaining Wall |
| 12 |  |  |  | Existing and proposed contours shown at 1' intervals; spot elevations sufficient to adequately portray drainage patterns on and adjacent to the parcel. |
| 13 |  |  |  | Minimum slope requirements met (1% on grass areas, 0.5% on asphalt areas, 0.4% on concrete areas). |
| 14 |  |  |  | Delineation of wetlands, floodplain, floodway, protective areas and other water features shown (if applicable). |
| 15 |  |  |  | Temporary erosion and sediment control measures to be implemented during construction shown, along with construction schedules. |
| 16 |  |  |  | Final stabilization measures proposed for all disturbed areas shown. |
| 17 |  |  |  | Flow direction arrows included, clearly indicating the direction of drainage. |
| 18 |  |  |  | Percent slope of all drainage swales shown (50' interval spot elev. helpful) |
| 19 |  |  |  | Total Area of the Site and Area to be Disturbed shown and listed. |
| 20 |  |  |  | Depth to Groundwater (or bedrock) identified. |
| 21 |  |  |  | Permits required and applied for (include submittal and approval): |
|  |  |  |  |  | WI-DOT |
|  |  |  |  |  | WI-DNR NOI |
|  |  |  |  |  | WI-DNR Chapter 30 |
|  |  |  |  |  | WI-DOC NOI |
|  |  |  |  |  | County |
|  |  |  |  |  | Other |
| 22 |  |  |  | Note on plans: Contractor shall obtain a street/terrace opening permit from city engineering prior to performing any work within the right of way. |
| 23 |  |  |  | Note on plans: Contractor shall obtain a sidewalk permit from city engineering prior to placing any sidewalks within the public right of way. |
| 24 |  |  |  | Show parking stall dimensions, aisle widths and handicap stalls. |
| 25 |  |  |  | BMPs documented to be in accordance with WDNR Technical Standards. |

Erosion Control Plan

| No. | Completed | Identified but Not Complete | Not Applicable | Item |
| --- | --- | --- | --- | --- |
| 26 |  |  |  | Erosion Control Plan |
|  |  |  |  |  | Narrative discussing the site, design, installation, and maintenance of applicable erosion control BMPs, inspection guidance, etc. |
|  |  |  |  |  | Note on plans referencing that the WI-DNR Technical Standards are to be followed for the design, installation, and maintenance of all erosion control BMPs. |
|  |  |  |  |  | Detailed Construction Sequence provided on the plans with approximate dates for the planned construction activities. Sequence shall also discuss the timing of site stabilization. |
|  |  |  |  |  | Construction details provided for all applicable erosion control BMPs. |
|  |  |  |  |  | RUSLE design information submitted per COMM or WI-DNR requirements. |
|  |  |  |  |  | Location of tracking pad(s) |
|  |  |  |  |  | Location of sediment control BMPs. |
|  |  |  |  |  | Location of required perimeter controls. |
|  |  |  |  |  | Location of anticipated disturbed areas and the required erosion control BMPs. |
|  |  |  |  |  | Location of anticipated fill areas and the required erosion control BMPs. |
|  |  |  |  |  | Location of anticipated soil stockpiles and the required erosion control BMPs. |
|  |  |  |  |  | For large projects, the anticipated phasing is provided. |
|  |  |  |  |  | Fertilizer and seed rates and recommendations for type of planting per growing season. |
| 27 |  |  |  | Cost estimate for installation and maintenance of BMPs. |

Post-Construction Stormwater Runoff Calculations and Hydrologic Plans

| No. | Completed | Identified but Not Complete | Not Applicable | Item |
| --- | --- | --- | --- | --- |
| 28 |  |  |  | Narrative Description: |
|  |  |  |  |  | Site Location and Description |
|  |  |  |  |  | Existing and proposed conditions |
|  |  |  |  |  | Water quality analysis and design for the site (including infiltration requirements) |
|  |  |  |  |  | Analysis to show the site meets NR 151 infiltration standards (Code 1002) for the proposed development |
|  |  |  |  |  | Summary of calculations and results |
| 29 |  |  |  | Hydrologic maps of the site showing pre-developed and post-developed conditions (Information shall include but is not limited to): |
|  |  |  |  |  | Topography of site and adjacent properties |
|  |  |  |  |  | Watershed and sub-watershed delineations, including delineation of off-site areas tributary to the proposed site. |
|  |  |  |  |  | Soil types |
|  |  |  |  |  | Downstream system capacity (ditches or storm sewers) |
|  |  |  |  |  | Site stormwater discharge location and name of receiving water |
|  |  |  |  |  | Existing and proposed contours shown at 1' intervals |
|  |  |  |  |  | Paths chosen for Time of Concentration (Tc) - Indicate sheet, shallow concentrated, and channel flow paths). |
| 30 |  |  |  | Hydrologic and Hydraulic calculations: |
|  |  |  |  |  | Average annual rainfall and design storms in accordance with the City of Fond du Lac Stormwater Ordinance. |
|  |  |  |  |  | Drainage basin areas |
|  |  |  |  |  | Soil types and hydrologic soils group |
|  |  |  |  |  | Land use and cover description |
|  |  |  |  |  | Pre- and Post-development Runoff Curve Number (RCN) calculations (weighted for multiple cover types) |
|  |  |  |  |  | Time of Concentration (Tc) calculations |
|  |  |  |  |  | Peak flow calculations for existing and proposed (and pond outlet, if applicable) for 1, 2, 5, and 100 year storm events |
|  |  |  |  |  | Hydraulic calculations for proposed storm sewer or ditch design. Local discharge restrictions may apply based on available conveyance capacities. |
| 31 |  |  |  | Detention Basin Design, if applicable (other BMP design information can be included instead of for a detention basin, as appropriate): |
|  |  |  |  |  | Documentation that the detention facility shall safely attenuate peak discharges. |
|  |  |  |  |  | Confirmation that there are no limitations for wells, etc. |
|  |  |  |  |  | Elevation-storage-outflow relationship for each detention basin |
|  |  |  |  |  | Calculations/computer model analysis of hydrograph routing through the detention facility |
|  |  |  |  |  | Hydraulic design (including calculations) of outlet structure(s)/pipe(s) |
|  |  |  |  |  | Proposed 100-year ponding elevation identified and labeled (on plans) for each detention basin |
|  |  |  |  |  | Safely pass runoff in excess of the 100-year post-developed condition flow. Show pond overflow elevation(s) and details. |
|  |  |  |  |  | Cross-section(s) of proposed detention basin. |
|  |  |  |  |  | Documentation to show the detention basin meets the Wet Detention Basin Standard (Code 1001). |
| 32 |  |  |  | Pollutant removal calculations (80% TSS reduction for new, 40% reduction of redevelopment) or show tributary to regional treatment system. |
| 33 |  |  |  | Operations and Maintenance (O&M) Plan and Maintenance Agreement |
| 34 |  |  |  | Cost estimate for construction and maintenance of stormwater management BMPs. |

This checklist is intended as a guidance document for preparing private development plans within the community, and is not intended to be all-inclusive.  It is intended to address the routine questions that commonly arise during the preparation of development plans.  The applicant should review all applicable stormwater management regulations and codes.